## 0.66-3 kV Power cables
Марка кабеля по ГОСТ 31996-2012 Type of cable as per GOST 31996-2012 | Марка кабеля в каталоге Type of cable as in the catalogue | Зарубежный аналог по VDE Foreign analogue according to VDE | Зарубежный аналог Foreign analogue
1. С пластмассовой изоляцией 0,66, 1, 3 кВ / Plastic-insulated power cables 0.66, 1, 3 kV
ВВГ | VVG | NYY | Cu/PVC/PVC
ВВГЭ | VVGE | NYCY | Cu/PVC/SC/PVC
АВВГ | AVVG | NAYY | Al/PVC/PVC
АВВГЭ | AVVGE | NAYCY | Al/PVC/SC/PVC
ВВГнг(А) | VVGng(A) | NYY flame retardant | Cu/PVC/PVC flame retardant
ВВГЭнг(А) | VVGEng(A) | NYCY flame retardant | Cu/PVC/SC/PVC flame retardant
АВВГнг(А) | AVVGng(A) | NAYY flame retardant | Al/PVC/PVC flame retardant
АВВГЭнг(А) | AVVGEng(A) | NAYCY flame retardant | Al/PVC/SC/PVC flame retardant
ВБШв | VBSHv | NYBY | Cu/PVC/STA/PVC
ВБШвнг(А) | VBSHvng(A) | NYBY flame retardant | Cu/PVC/STA/PVC flame retardant
АВБШв | AVBSHv | NAYBY | Al/PVC/STA/PVC
АВБШвнг(А) | AVBSHvng(A) | NAYBY flame retardant | Al/PVC/STA/PVC flame retardant
2. С изоляцией из силанольносшитого полиэтилена 1 кВ / XLPE-insulated power cables 1 kV
ПвВГ | PvVG | N2XY | Cu/XLPE/PVC
ПвВГЭ | PvVGE | N2XCY | Cu/XLPE/SC/PVC
АПвВГ | APvVG | NA2XY | Al/XLPE/PVC
АПвВГЭ | APvVGE | N2XCY | Al/XLPE/SC/PVC
ПвБШв | PvBSHv | N2XBY | Cu/XLPE/STA/PVC
АПвБШв | APvBSHv | NA2XBY | Al/XLPE/STA/PVC
ПвБШп | PvBSHp | N2XB2Y | Cu/XLPE/STA/PE
АПвБШп | APvBSHp | NA2XB2Y | Al/XLPE/STA/PE
ПвВГнг(А) | PvVGng(A) | N2XY flame retardant | Cu/XLPE/PVC flame retardant
ПвВГЭнг(А) | PvVGEng(A) | N2XCY flame retardant | Cu/XLPE/SC/PVC flame retardant
АПвВГнг(А) | APvVGng(A) | NA2XY flame retardant | Al/XLPE/PVC flame retardant
АПвВГЭнг(А) | APvVGEng(A) | NA2XCY flame retardant | Al/XLPE/SC/PVC flame retardant
ПвБШвнг(В) | PvBSHvng(V) | N2XBY flame retardant | Cu/XLPE/STA/PVC flame retardant
АПвБШвнг(В) | APvBSHvng(V) | NA2ХBY flame retardant | Al/XLPE/STA/PVC flame retardant
ПвБШп(г) | PvBSHp(g) | N2Х(F)B2Y | Cu/XLPE/STA/PE
АПвБШп(г) | APvBSHp(g) | NA2Х(F)B2Y | Al/XLPE/STA/PE
3. С изоляцией из этиленпропиленовой резины 1, 3 кВ / Ethylene-prophylene rubber-insulated power cables 1, 3 kV
EPREM РБВ | - | N3GBY | Cu/EPR/STA/PVC
EPREM АРБВ | - | NA3GBY | Al/EPR/STA/PVC
EPREM РБВнг(А) | - | N3GBY flame retardant | Cu/EPR/STA/PVC flame retardant
EPREM АРБВнг(А) | - | NA3GBY flame retardant | Al/EPR/STA/PVC flame retardant
EPREM РВГ | - | N3GY | Cu/EPR/PVC
EPREM АРВГ | - | NA3GY | Al/EPR/PVC
EPREM РВГнг(А) | - | N3GY flame retardant | Cu/EPR/PVC flame retardant
EPREM АРВГнг(А) | - | NA3GY flame retardant | Al/EPR/PVC flame retardant
EPREM РВГЭ | - | N3GCY | Cu/EPR/SC/PVC
EPREM АРВГЭ | - | NA3GCY | Al/EPR/SC/PVC
EPREM РВГЭнг(А) | - | N3GCY flame retardant | Cu/EPR/SC/PVC flame retardant
EPREM АРВГЭнг(А) | - | NA3GCY flame retardant | Al/EPR/SC/PVC flame retardant
EPREM РБВнг(А)-LS | - | N3GBY flame retardant low smoke | Cu/EPR/STA/PVC flame retardant low smoke
EPREM АРБВнг(А)-LS | - | NA3GBY flame retardant low smoke | Al/EPR/STA/PVC flame retardant low smoke
EPREM РБПнг(А)-HF | - | N3GBH | Cu/EPR/STA/LSZH
EPREM АРБПнг(А)-HF | - | NA3GBH | Al/EPR/STA/LSZH
EPREM РВГнг(А)-LS | - | N3GY flame retardant low smoke | Cu/EPR/PVC flame retardant low smoke
EPREM АРВГнг(А)-LS | - | NA3GY flame retardant low smoke | Al/EPR/PVC flame retardant low smoke
EPREM РВГЭнг(А)-LS | - | N3GCY flame retardant low smoke | Cu/EPR/SC/PVC flame retardant low smoke
EPREM АРВГЭнг(А)-LS | - | NA3GCY flame retardant low smoke | Al/EPR/SC/PVC flame retardant low smoke
EPREM РПГнг(А)-HF | - | N3GH | Cu/EPR/LSZH
EPREM АРПГнг(А)-HF | - | NA3GH | Al/EPR/LSZH
EPREM РПГЭнг(А)-HF | - | N3GCH | Cu/EPR/SC/LSZH
EPREM АРПГЭнг(А)-HF | - | NA3GCH | Al/EPR/SC/LSZH
4. С низким дымо- и газовыделением, в том числе огнестойкий (LS, FRLS) 0,66 и 1 кВ / Low smoke- and gas emission, including fire-resistant power cables 0.66 and 1 kV
ВВГнг(А)-LS | VVGng(A)-LS | NYY flame retardant low smoke | Cu/PVC/PVC flame retardant low smoke
ВВГЭнг(А)-LS | VVGEng(A)-LS | NYCY flame retardant low smoke | Cu/PVC/SC/PVC flame retardant low smoke
АВВГнг(А)-LS | AVVGng(A)-LS | NAYY flame retardant low smoke | Al/PVC/PVC flame retardant low smoke
АВВГЭнг(А)-LS | AVVGEng(A)-LS | NAYCY flame retardant low smoke | Al/PVC/SC/PVC flame retardant low smoke
ВБШвнг(А)-LS | VBSHvng(A)-LS | NYBY flame retardant low smoke | Cu/PVC/STA/PVC flame retardant low smoke
АВБШвнг(А)-LS | AVBSHvng(A)-LS | NAYBY flame retardant low smoke | Al/PVC/STA/PVC flame retardant low smoke
ВВГнг(А)-FRLS | VVGng(A)-FRLS | NYY-FE180 fire resistance low smoke | Cu/MGT/PVC/PVC-FE180 fire resistance low smoke
ВВГЭнг(А)-FRLS | VVGEng(A)-FRLS | NYCY-FE180 fire resistance low smoke | Cu/MGT/PVC/SC/PVC-FE180 fire resistance low smoke
ВБШвнг(А)-FRLS | VBSHvng(A)-FRLS | NYBY-FE180 fire resistance low smoke | Cu/MGT/PVC/STA/PVC-FE180 fire resistance low smoke
АПвВГнг(А)-LS | APvVGng(A)-LS | NA2XY flame retardant low smoke | Al/XLPE/PVC flame retardant low smoke
ПвВГнг(А)-LS | PvVGng(A)-LS | N2XY flame retardant low smoke | Cu/XLPE/PVC flame retardant low smoke
АПвБШвнг(А)-LS | APvBSHvng(A)-LS | NA2XBY flame retardant low smoke | Al/XLPE/PVC flame retardant low smoke
ПвБШвнг(А)-LS | PvBSHvng(A)-LS | N2XBY flame retardant low smoke | Cu/XLPE/PVC flame retardant low smoke
5. Не содержащий галогенов, в том числе огнестойкий (HF, FRHF) 0,66 и 1кВ / Halogen-free power cables, including fire-resistant power cables 0.66 and 1 kV
ППГнг(А)-HF | PPGng(A)-HF | NHH | Cu/LSZH/LSZH
ППГЭнг(А)-HF | PPGEng(A)-HF | NHCH | Cu/LSZH/SC/LSZH
ПБПнг(А)-HF | PBPng(A)-HF | NHBH | Cu/LSZH/STA/LSZH
ПвПГнг(А)-HF | PvPGng(A)-HF | N2XH | Cu/XLPE/LSZH
ППГнг(А)-FRHF | PPGng(A)-FRHF | NHH-FE180 | Cu/MGT/LSZH/LSZH-FE180
ППГЭнг(А)-FRHF | PPGEng(A)-FRHF | NHCH-FE180 | Cu/MGT/LSZH/SC/LSZH-FE180
ПвБПнг(А)-HF | PvBPng(A)-HF | N2XBH | Cu/MGT/XLPE/STA/LSZH
ПвБПнг(А)-FRHF | PvBPng(A)-FRHF | N2XBH-FE180 | Cu/MGT/XLPE/STA/LSZH-FE180
6. С низкой токсичностью, в том числе огнестойкий (LSLTx, FRLSLTx) 0,66 и 1кВ / Low-toxic power cables, including fire-resistant power cables 0.66, 1 kV
АВБШвнг(А)-LSLTx | AVBSHvng(A)-LSLTx | NAYBY flame retardant low smoke low toxicity | Al/PVC/STA/PVC flame retardant low smoke low toxicity
ВБШвнг(А)-LSLTx | VBSHvng(A)-LSLTx | NYBY flame retardant low smoke low toxicity | Cu/PVC/STA/PVC flame retardant low smoke low toxicity
АВВГнг(А)-LSLTx | AVVGng(A)-LSLTx | NAYY flame retardant low smoke low toxicity | Al/PVC/PVC flame retardant low smoke low toxicity
ВВГнг(А)-LSLTx | VVGng(A)-LSLTx | NYY flame retardant low smoke low toxicity | Cu/PVC/PVC flame retardant low smoke low toxicity
АВВГЭнг(А)-LSLTx | AVVGEng(A)-LSLTx | NAYCY flame retardant low smoke low toxicity | Al/PVC/SC/PVC flame retardant low smoke low toxicity
ВВГЭнг(А)-LSLTx | VVGEng(A)-LSLTx | NYCY flame retardant low smoke low toxicity | Cu/PVC/SC/PVC flame retardant low smoke low toxicity
ВБШвнг(А)-FRLSLTx | VBSHvng(A)-FRLSLTx | NYBY-FE180 fire resistance low smoke low toxicity | Cu/PVC/STA/PVC-FE180 fire resistance low smoke low toxicity
ВВГнг(А)-FRLSLTx | VVGng(A)-FRLSLTx | NYY-FE180 fire resistance low smoke low toxicity | Cu/PVC/PVC-FE180 fire resistance low smoke low toxicity
ВВГЭнг(А)-FRLSLTx | VVGEng(A)-FRLSLTx | NYCY-FE180 fire resistance low smoke low toxicity | Cu/PVC/SC/PVC-FE180 fire resistance low smoke low toxicity
7. В холодостойком исполнении (ХЛ) 0,66, 1 и 3 кВ / Cold-resistant power cables 0.66, 1 and 3 kV
ВБШв-ХЛ | VBSHv-HL | NYkBYk | Cu/PVC/STA/PVC cold resistance
АВБШв-ХЛ | AVBSHv-HL | NAYkBYk | Al/PVC/STA/PVC cold resistance
ВБШвнг(А)-ХЛ | VBSHvng(A)-HL | NYkBYk flame retardant | Cu/PVC/STA/PVC flame retardant cold resistance
АВБШвнг(А)-ХЛ | AVBSHvng(A)-HL | NAYkBYk flame retardant | Al/PVC/STA/PVC flame retardant cold resistance
ВВГ-ХЛ | VVG-HL | NYkYk | Cu/PVC/PVC cold resistance
АВВГ-ХЛ | AVVG-HL | NAYkYk | Al/PVC/PVC cold resistance
ВВГЭ-ХЛ | VVGE-HL | NYkCYk | Cu/PVC/SC/PVC cold resistance
АВВГЭ-ХЛ | AVVGE-HL | NAYkCYk | Al/PVC/SC/PVC cold resistance
ВВГнг(А)-ХЛ | VVGng(A)-HL | NYkYk flame retardant | Cu/PVC/PVC flame retardant cold resistance
АВВГнг(А)-ХЛ | AVVGng(A)-HL | NAYkYk flame retardant | Al/PVC/PVC flame retardant cold resistance
ВВГЭнг(А)-ХЛ | VVGEng(A)-HL | NYkCYk flame retardant | Cu/PVC/SC/PVC flame retardant cold resistance
АВВГЭнг(А)-ХЛ | AVVGEng(A)-HL | NAYkCYk flame retardant | Al/PVC/SC/PVC flame retardant cold resistance
8. Пожаро- взрывобезопасный, повышенной надежности (Вз) 0,66 и 1 кВ / Improved reliability power cables, fire- and explosion-proof, 0.66 and 1 kV
На данный момент марки кабеля, отображенные на сайте, не актуальны. The types currently displayed on the website are not relevant.
-J - наличие в кабеле жилы заземления (PE) / the cable has an earth conductor (PE)
-O - отсутствие в кабеле жилы заземления / the cable does not have an earth conductor

## 6-35 kV Power cables
Марка кабеля по ГОСТ Р 55025-2012 Type of cable as per GOST R 55025-2012 | Марка кабеля в каталоге Type of cable as in the catalogue | Зарубежный аналог по VDE Foreign analogue according to VDE |  | Зарубежный аналог Foreign analogue
1. C пластмассовой изоляцией 6 кВ / Plastic-insulated, 6 kV
ВВГ | VVG | Single core | Multi core | Single core | Multi core
|  | NYSY | NYSY | Cu/PVC/CTS/PVC | Cu/PVC/CTS/PVC
АВВГ | AVVG | Single core | Multi core | Single core | Multi core
|  | NAYSY | NAYSY | Al/PVC/CTS/PVC | Al/PVC/CTS/PVC
ВБВ | VBV | Single core | Multi core | Single core | Multi core
|  | - | NYCYBY | - | Cu/PVC/SC/STA/PVC
АВБВ | AVBV | Single core | Multi core | Single core | Multi core
|  | - | NAYSBY | - | Al/PVC/CTS/STA/PVC
ВВГ-ХЛ | VVB-HL | Single core | Multi core | Single core | Multi core
|  | NYkSYk | NYkSYk | Cu/PVC/CTS/PVC cold resistance | Cu/PVC/CTS/PVC cold resistance
АВВГ-ХЛ | AVVG-HL | Single core | Multi core | Single core | Multi core
|  | NAYkSYk | NAYkSYk | Al/PVC/CTS/PVC cold resistance | Al/PVC/CTS/PVC cold resistance
ВВГнг(А)-ХЛ | VVGng(A)-HL | Single core | Multi core | Single core | Multi core
|  | NYkSYk flame retardant | NYkSYk flame retardant | Cu/PVC/CTS/PVC flame retardant cold resistance | Cu/PVC/CTS/PVC flame retardant cold resistance
АВВГнг(А)-ХЛ | AVVGng(A)-HL | Single core | Multi core | Single core | Multi core
|  | NAYkSYk flame retardant | NAYkSYk flame retardant | Al/PVC/CTS/PVC flame retardant cold resistance | Al/PVC/CTS/PVC flame retardant cold resistance
ВБВ-ХЛ | VBV-HL | Single core | Multi core | Single core | Multi core
|  | - | NYkCYkBYk | - | Cu/PVC/SC/STA/PVC cold resistance
АВБВ-ХЛ | AVBV-HL | Single core | Multi core | Single core | Multi core
|  | - | NAYkSBYk | - | Al/PVC/CTS/STA/PVC cold resistance
ВБВнг(А)-ХЛ | VBVng(A)-HL | Single core | Multi core | Single core | Multi core
|  | - | NYkSBYk flame retardant | - | Cu/PVC/CTS/STA/PVC flame retardant cold resistance
АВБВнг(А)-ХЛ | AVBVng(A)-HL | Single core | Multi core | Single core | Multi core
|  | - | NAYkSBYk flame retardant | - | Al/PVC/CTS/STA/PVC flame retardant cold resistance
ВВГнг(А) | VVGng(A) | Single core | Multi core | Single core | Multi core
|  | NYSY flame retardant | NYSY flame retardant | Cu/PVC/CTS/PVC flame retardant | Cu/PVC/CTS/PVC flame retardant
АВВГнг(А) | AVVGng(A) | Single core | Multi core | Single core | Multi core
|  | NAYSY flame retardant | NAYSY flame retardant | Al/PVC/CTS/PVC flame retardant | Al/PVC/CTS/PVC flame retardant
ВБВнг(А) | VBVng(A) | Single core | Multi core | Single core | Multi core
|  | - | NYSBY flame retardant | - | Cu/PVC/CTS/STA/PVC flame retardant
АВБВнг(А) | AVBVng(A) | Single core | Multi core | Single core | Multi core
|  | - | NAYSBY flame retardant | - | Al/PVC/CTS/STA/PVC flame retardant
ВВГнг(А)-LS | VVBng(A)-LS | Single core | Multi core | Single core | Multi core
|  | NYSY flame retardant low smoke | NYSY flame retardant low smoke | Cu/PVC/CTS/PVC flame retardant low smoke | Cu/PVC/CTS/PVC flame retardant low smoke
АВВГнг(А)-LS | AVVGng(A)-LS | Single core | Multi core | Single core | Multi core
|  | NAYSY flame retardant low smoke | NAYSY flame retardant low smoke | Al/PVC/CTS/PVC flame retardant low smoke | Al/PVC/CTS/PVC flame retardant low smoke
ВБВнг(А)-LS | VBVng(A)-LS | Single core | Multi core | Single core | Multi core
|  | - | NYSBY flame retardant low smoke | - | Cu/PVC/CTS/STA/PVC flame retardant low smoke
АВБВнг(А)-LS | AVBVng(A)-LS | Single core | Multi core | Single core | Multi core
|  | - | NAYSBY flame retardant low smoke | - | Al/PVC/CTS/STA/PVC flame retardant low smoke
2. С изоляцией из сшитого полиэтилена 10, 15, 20, 35 кВ / XLPE-insulated, 10, 15, 20, 35 kV
ПвП | PvP | Single core | Multi core | Single core | Multi core
|  | N2XS2Y | N2XSE2Y | Cu/XLPE/CWS/PE | Cu/XLPE/CWS/PE
АПвП | APvP | Single core | Multi core | Single core | Multi core
|  | NA2XS2Y | NA2XSE2Y | Al/XLPE/CWS/PE | Al/XLPE/CWS/PE
ПвПу | PvPu | Single core | Multi core | Single core | Multi core
|  | N2XS2Y | N2XSE2Y | Cu/XLPE/CWS/PE | Cu/XLPE/CWS/PE
АПвПу | APvPu | Single core | Multi core | Single core | Multi core
|  | NA2XS2Y | NA2XSE2Y | Al/XLPE/CWS/PE | Al/XLPE/CWS/PE
ПвВ | PvV | Single core | Multi core | Single core | Multi core
|  | N2XSY | N2XSEY | Cu/XLPE/CWS/PVC | Cu/XLPE/CWS/PVC
АПвВ | APvV | Single core | Multi core | Single core | Multi core
|  | NA2XSY | NA2XSEY | Al/XLPE/CWS/PVC | Al/XLPE/CWS/PVC
ПвБВ | PvBV | Single core | Multi core | Single core | Multi core
|  | - | N2XSEBY | - | Cu/XLPE/CWS/STA/PVC
АПвБВ | APvBV | Single core | Multi core | Single core | Multi core
|  | - | NA2XSEBY | - | Al/XLPE/CWS/STA/PVC
ПвВнг(А)-LS | PvVng(A)-LS | Single core | Multi core | Single core | Multi core
|  | N2XSY flame retardant low smoke | N2XSEY flame retardant low smoke | Cu/XLPE/CWS/PVC flame retardant low smoke | Cu/XLPE/CWS/PVC flame retardant low smoke
АПвВнг(А)-LS | APvVng(A)-LS | Single core | Multi core | Single core | Multi core
|  | NA2XSY flame retardant low smoke | NA2XSEY flame retardant low smoke | Al/XLPE/CWS/PVC flame retardant low smoke | Al/XLPE/CWS/PVC flame retardant low smoke
ПвБВнг(А)-LS | PvBVng(A)-LS | Single core | Multi core | Single core | Multi core
|  | - | N2XSEBY flame retardant low smoke | - | Cu/XLPE/CWS/STA/PVC flame retardant low smoke
АПвБВнг(А)-LS | APvBVng(A)-LS | Single core | Multi core | Single core | Multi core
|  | - | NA2XSEBY flame retardant low smoke | - | Al/XLPE/CWS/STA/PVC flame retardant low smoke
ПвПг | PvPg | Single core | Multi core | Single core | Multi core
|  | N2XS(F)2Y | N2XSE(F)2Y | Cu/XLPE/LW/CWS/LW/PE | Cu/XLPE/LW/CWS/LW/PE
АПвПг | APvPg | Single core | Multi core | Single core | Multi core
|  | NA2XS(F)2Y | NA2XSE(F)2Y | Al/XLPE/LW/CWS/LW/PE | Al/XLPE/LW/CWS/LW/PE
ПвПгж | PvPgzh | Single core | Multi core | Single core | Multi core
|  | N2XS(F)2Y | N2XSE(F)2Y | Cu/XLPE/LW/CWS/LW/PE | Cu/XLPE/LW/CWS/LW/PE
АПвПгж | APvPgzh | Single core | Multi core | Single core | Multi core
|  | NA2XS(F)2Y | NA2XSE(F)2Y | Al/XLPE/LW/CWS/LW/PE | Al/XLPE/LW/CWS/LW/PE
ПвП2г | PvP2g | Single core | Multi core | Single core | Multi core
|  | N2XS(FL)2Y | N2XSE(FL)2Y | Cu/XLPE/CWS/LW/PE | Cu/XLPE/CWS/LW/PE
АПвП2г | APvP2g | Single core | Multi core | Single core | Multi core
|  | NA2XS(FL)2Y | NA2XSE(FL)2Y | Al/XLPE/CWS/LW/PE | Al/XLPE/CWS/LW/PE
ПвП2гж | PvP2gzh | Single core | Multi core | Single core | Multi core
|  | N2XS(FL)2Y | N2XSE(FL)2Y | Cu/XLPE/CWS/LW/PE | Cu/XLPE/CWS/LW/PE
АПвП2гж | APvP2gzh | Single core | Multi core | Single core | Multi core
|  | NA2XS(FL)2Y | NA2XSE(FL)2Y | Al/XLPE/CWS/LW/PE | Al/XLPE/CWS/LW/PE
ПвПуг | PvPug | Single core | Multi core | Single core | Multi core
|  | N2XS(F)2Y | N2XSE(F)2Y | Cu/XLPE/LW/CWS/LW/PE | Cu/XLPE/LW/CWS/LW/PE
АПвПуг | APvPug | Single core | Multi core | Single core | Multi core
|  | NA2XS(F)2Y | NA2XSE(F)2Y | Al/XLPE/LW/CWS/LW/PE | Al/XLPE/LW/CWS/LW/PE
ПвПугж | PvPugzh | Single core | Multi core | Single core | Multi core
|  | N2XS(F)2Y | N2XSE(F)2Y | Cu/XLPE/LW/CWS/LW/PE | Cu/XLPE/LW/CWS/LW/PE
АПвПугж | APvPugzh | Single core | Multi core | Single core | Multi core
|  | NA2XS(F)2Y | NA2XSE(F)2Y | Al/XLPE/LW/CWS/LW/PE | Al/XLPE/LW/CWS/LW/PE
ПвПу2г | PvPu2g | Single core | Multi core | Single core | Multi core
|  | N2XS(FL)2Y | N2XSE(FL)2Y | Cu/XLPE/CWS/LW/PE | Cu/XLPE/CWS/LW/PE
АПвПу2г | APvPu2g | Single core | Multi core | Single core | Multi core
|  | NA2XS(FL)2Y | NA2XSE(FL)2Y | Al/XLPE/CWS/LW/PE | Al/XLPE/CWS/LW/PE
ПвПу2гж | PvPu2gzh | Single core | Multi core | Single core | Multi core
|  | N2XS(FL)2Y, N2XSE(FL)2Y | N2XS(FL)2Y, N2XSE(FL)2Y | Cu/XLPE/CWS/LW/PE | Cu/XLPE/CWS/LW/PE
АПвПу2гж | APvPu2gzh | Single core | Multi core | Single core | Multi core
|  | NA2XS(FL)2Y | NA2XSE(FL)2Y | Al/XLPE/CWS/LW/PE | Al/XLPE/CWS/LW/PE
ПвБП | PvBP | Single core | Multi core | Single core | Multi core
|  | - | N2XSEB2Y | - | Cu/XLPE/CWS/STA/PE
АПвБП | APvBP | Single core | Multi core | Single core | Multi core
|  | - | NA2XSEB2Y | - | Al/XLPE/CWS/STA/PE
ПвБПг | PvBPg | Single core | Multi core | Single core | Multi core
|  | - | N2XSE(F)B2Y | - | Cu/XLPE/LW/CWS/LW/STA/PE
АПвБПг | APvBPg | Single core | Multi core | Single core | Multi core
|  | - | NA2XSE(F)B2Y | - | Al/XLPE/LW/CWS/LW/STA/PE
ПвБПгж | PvBPgzh | Single core | Multi core | Single core | Multi core
|  | - | N2XSE(F)B2Y | - | Cu/XLPE/LW/CWS/LW/STA/PE
АПвБПгж | APvBPgzh | Single core | Multi core | Single core | Multi core
|  | - | NA2XSE(F)B2Y | - | Al/XLPE/LW/CWS/LW/STA/PE
ПвБП2г | PvBP2g | Single core | Multi core | Single core | Multi core
|  | - | N2XSE(FL)B2Y | - | Cu/XLPE/CWS/LW/STA/PE
АПвБП2г | APvBP2g | Single core | Multi core | Single core | Multi core
|  | - | NA2XSE(FL)B2Y | - | Al/XLPE/CWS/LW/STA/PE
ПвБП2гж | PvBP2gzh | Single core | Multi core | Single core | Multi core
|  | - | N2XSE(FL)B2Y | - | Cu/XLPE/CWS/LW/STA/PE
АПвБП2гж | APvBP2gzh | Single core | Multi core | Single core | Multi core
|  | - | NA2XSE(FL)B2Y | - | Al/XLPE/CWS/LW/STA/PE
ПвВнг(А)-ХЛ | PvVng(A)-HL | Single core | Multi core | Single core | Multi core
|  | N2XSYk flame retardant cold resistance | N2XSEYk flame retardant cold resistance | Cu/XLPE/CWS/PVC flame retardant cold resistance | Cu/XLPE/CWS/PVC flame retardant cold resistance
АПвВнг(А)-ХЛ | APvVng(A)-HL | Single core | Multi core | Single core | Multi core
|  | NA2XSYk flame retardant cold resistance | NA2XSEYk f flame retardant cold resistance | Al/XLPE/CWS/PVC flame retardant cold resistance | Al/XLPE/CWS/PVC flame retardant cold resistance
ПвПнг(А)-HF | PvPng(A)-HF | Single core | Multi core | Single core | Multi core
|  | N2XSH | N2XSEH | Cu/XLPE/CWS/LSZH | Cu/XLPE/CWS/LSZH
АПвПнг(А)-HF | APvPng(A)-HF | Single core | Multi core | Single core | Multi core
|  | NA2XSH | NA2XSEH | Al/XLPE/CWS/LSZH | Al/XLPE/CWS/LSZH
ПвП2гжнг(А)-HF | PvP2gzhng(A)-HF | Single core | Multi core | Single core | Multi core
|  | N2XS(FL)H | N2XSE(FL)H | Cu/XLPE/CWS/LW/LSZH | Cu/XLPE/CWS/LW/LSZH
АПвП2гжнг(А)-HF | APvP2gzhng(A)-HF | Single core | Multi core | Single core | Multi core
|  | NA2XS(FL)H | NA2XSE(FL)H | Al/XLPE/CWS/LW/LSZH | Al/XLPE/CWS/LW/LSZH
ПвБПнг(А)-HF | PvBPng(A)-HF | Single core | Multi core | Single core | Multi core
|  | - | N2XSEBH | - | Cu/XLPE/CWS/STA/LSZH
АПвБПнг(А)-HF | APvBPng(A)-HF | Single core | Multi core | Single core | Multi core
|  | - | NA2XSEBH | - | Al/XLPE/CWS/STA/LSZH
3. С изоляцией из сшитого полиэтилена 6 кВ / XLPE-insulated, 6 kV
ПвБП | PvBP | Single core | Multi core | Single core | Multi core
|  | - | N2XSEB2Y | - | Cu/XLPE/CWS/STA/PE
АПвБП | APvBP | Single core | Multi core | Single core | Multi core
|  | - | NA2XSEB2Y | - | Al/XLPE/CWS/STA/PE
ПвБПг | PvBPg | Single core | Multi core | Single core | Multi core
|  | - | N2XSE(F)B2Y | - | Cu/XLPE/LW/CWS/LW/STA/PE
АПвБПг | APvBPg | Single core | Multi core | Single core | Multi core
|  | - | NA2XSE(F)B2Y | - | Al/XLPE/LW/CWS/LW/STA/PE
ПвБПгж | PvBPgzh | Single core | Multi core | Single core | Multi core
|  | - | N2XSE(F)B2Y | - | Cu/XLPE/LW/CWS/LW/STA/PE
АПвБПгж | APvBPgzh | Single core | Multi core | Single core | Multi core
|  | - | NA2XSE(F)B2Y | - | Al/XLPE/LW/CWS/LW/STA/PE
ПвБП2г | PvBP2g | Single core | Multi core | Single core | Multi core
|  | - | N2XSE(FL)B2Y | - | Cu/XLPE/CWS/LW/STA/PE
АПвБП2г | APvBP2g | Single core | Multi core | Single core | Multi core
|  | - | NA2XSE(FL)B2Y | - | Al/XLPE/CWS/LW/STA/PE
ПвБП2гж | PvBP2gzh | Single core | Multi core | Single core | Multi core
|  | - | N2XSE(FL)B2Y | - | Cu/XLPE/CWS/LW/STA/PE
АПвБП2гж | APvBP2gzh | Single core | Multi core | Single core | Multi core
|  | - | NA2XSE(FL)B2Y | - | Al/XLPE/CWS/LW/STA/PE
ПвПг | PvPg | Single core | Multi core | Single core | Multi core
|  | N2XS(F)2Y | N2XSE(F)2Y | Cu/XLPE/LW/CWS/LW/PE | Cu/XLPE/LW/CWS/LW/PE
АПвПг | APvPg | Single core | Multi core | Single core | Multi core
|  | NA2XS(F)2Y | NA2XSE(F)2Y | Al/XLPE/LW/CWS/LW/PE | Al/XLPE/LW/CWS/LW/PE
ПвПгж | PvPgzh | Single core | Multi core | Single core | Multi core
|  | N2XS(F)2Y | N2XSE(F)2Y | Cu/XLPE/LW/CWS/LW/PE | Cu/XLPE/LW/CWS/LW/PE
АПвПгж | APvPgzh | Single core | Multi core | Single core | Multi core
|  | NA2XS(F)2Y | NA2XSE(F)2Y | Al/XLPE/LW/CWS/LW/PE | Al/XLPE/LW/CWS/LW/PE
ПвП2г | PvP2g | Single core | Multi core | Single core | Multi core
|  | N2XS(FL)2Y | N2XSE(FL)2Y | Cu/XLPE/CWS/LW/PE | Cu/XLPE/CWS/LW/PE
АПвП2г | APvP2g | Single core | Multi core | Single core | Multi core
|  | NA2XS(FL)2Y | NA2XSE(FL)2Y | Al/XLPE/CWS/LW/PE | Al/XLPE/CWS/LW/PE
ПвП2гж | PvP2gzh | Single core | Multi core | Single core | Multi core
|  | N2XS(FL)2Y | N2XSE(FL)2Y | Cu/XLPE/CWS/LW/PE | Cu/XLPE/CWS/LW/PE
АПвП2гж | APvP2gzh | Single core | Multi core | Single core | Multi core
|  | NA2XS(FL)2Y | NA2XSE(FL)2Y | Al/XLPE/CWS/LW/PE | Al/XLPE/CWS/LW/PE
ПвПуг | PvPug | Single core | Multi core | Single core | Multi core
|  | N2XS(F)2Y | N2XSE(F)2Y | Cu/XLPE/LW/CWS/LW/PE | Cu/XLPE/LW/CWS/LW/PE
АПвПуг | APvPug | Single core | Multi core | Single core | Multi core
|  | NA2XS(F)2Y | NA2XSE(F)2Y | Al/XLPE/LW/CWS/LW/PE | Al/XLPE/LW/CWS/LW/PE
ПвПугж | PvPugzh | Single core | Multi core | Single core | Multi core
|  | N2XS(F)2Y | N2XSE(F)2Y | Cu/XLPE/LW/CWS/LW/PE | Cu/XLPE/LW/CWS/LW/PE
АПвПугж | APvPugzh | Single core | Multi core | Single core | Multi core
|  | NA2XS(F)2Y | NA2XSE(F)2Y | Al/XLPE/LW/CWS/LW/PE | Al/XLPE/LW/CWS/LW/PE
ПвПу2г | PvPu2g | Single core | Multi core | Single core | Multi core
|  | N2XS(FL)2Y | N2XSE(FL)2Y | Cu/XLPE/CWS/LW/PE | Cu/XLPE/CWS/LW/PE
АПвПу2г | APvPu2g | Single core | Multi core | Single core | Multi core
|  | NA2XS(FL)2Y | NA2XSE(FL)2Y | Al/XLPE/CWS/LW/PE | Al/XLPE/CWS/LW/PE
ПвПу2гж | PvPu2gzh | Single core | Multi core | Single core | Multi core
|  | N2XS(FL)2Y, N2XSE(FL)2Y | N2XS(FL)2Y, N2XSE(FL)2Y | Cu/XLPE/CWS/LW/PE | Cu/XLPE/CWS/LW/PE
АПвПу2гж | APvPu2gzh | Single core | Multi core | Single core | Multi core
|  | NA2XS(FL)2Y | NA2XSE(FL)2Y | Al/XLPE/CWS/LW/PE | Al/XLPE/CWS/LW/PE
ПвВнг(А)-LS | PvVng(A)-LS | Single core | Multi core | Single core | Multi core
|  | N2XSY flame retardant low smoke | N2XSEY flame retardant low smoke | Cu/XLPE/CWS/PVC flame retardant low smoke | Cu/XLPE/CWS/PVC flame retardant low smoke
АПвВнг(А)-LS | APvVng(A)-LS | Single core | Multi core | Single core | Multi core
|  | NA2XSY flame retardant low smoke | NA2XSEY flame retardant low smoke | Al/XLPE/CWS/PVC flame retardant low smoke | Al/XLPE/CWS/PVC flame retardant low smoke
ПвБВнг(А)-LS | PvBVng(A)-LS | Single core | Multi core | Single core | Multi core
|  | - | N2XSEBY flame retardant low smoke | - | Cu/XLPE/CWS/STA/PVC flame retardant low smoke
АПвБВнг(А)-LS | APvBVng(A)-LS | Single core | Multi core | Single core | Multi core
|  | - | NA2XSEBY flame retardant low smoke | - | Al/XLPE/CWS/STA/PVC flame retardant low smoke
ПвВ | PvV | Single core | Multi core | Single core | Multi core
|  | N2XSY | N2XSEY | Cu/XLPE/CWS/PVC | Cu/XLPE/CWS/PVC
АПвВ | APvV | Single core | Multi core | Single core | Multi core
|  | NA2XSY | NA2XSEY | Al/XLPE/CWS/PVC | Al/XLPE/CWS/PVC
ПвБВ | PvBV | Single core | Multi core | Single core | Multi core
|  | - | N2XSEBY | - | Cu/XLPE/CWS/STA/PVC
АПвБВ | APvBV | Single core | Multi core | Single core | Multi core
|  | - | NA2XSEBY | - | Al/XLPE/CWS/STA/PVC
ПвП | PvP | Single core | Multi core | Single core | Multi core
|  | N2XS2Y | N2XSE2Y | Cu/XLPE/CWS/PE | Cu/XLPE/CWS/PE
АПвП | APvP | Single core | Multi core | Single core | Multi core
|  | NA2XS2Y | NA2XSE2Y | Al/XLPE/CWS/PE | Al/XLPE/CWS/PE
ПвПу | PvPu | Single core | Multi core | Single core | Multi core
|  | N2XS2Y | N2XSE2Y | Cu/XLPE/CWS/PE | Cu/XLPE/CWS/PE
АПвПу | APvPu | Single core | Multi core | Single core | Multi core
|  | NA2XS2Y | NA2XSE2Y | Al/XLPE/CWS/PE | Al/XLPE/CWS/PE
4. С изоляцией из этиленпропиленовой резины 6, 10,15,20,30 и 35 кВ / EPR-insulated, 6, 10, 15, 20, 30 and 35 kV
EPREM РвБВ | - | Single core | Multi core | Single core | Multi core
|  | - | N3GSEBY | - | Cu/EPR/CWS/STA/PVC
EPREM АРвБВ | - | Single core | Multi core | Single core | Multi core
|  | - | NA3GSEBY | - | Al/EPR/CWS/STA/PVC
EPREM РвБВнг(А) | - | Single core | Multi core | Single core | Multi core
|  | - | N3GSEBY flame retardant | - | Cu/EPR/CWS/STA/PVC flame retardant
EPREM АРвБВнг(А) | - | Single core | Multi core | Single core | Multi core
|  | - | NA3GSEBY flame retardant | - | Al/EPR/CWS/STA/PVC flame retardant
EPREM РвБПнг(А)-HF | - | Single core | Multi core | Single core | Multi core
|  | - | N3GSEBH | - | Cu/EPR/CWS/STA/LSZH
EPREM АРвБПнг(А)-HF | - | Single core | Multi core | Single core | Multi core
|  | - | NA3GSEBH | - | Al/EPR/CWS/STA/LSZH
EPREM РвБВнг(А)-LS | - | Single core | Multi core | Single core | Multi core
|  | - | N3GSEBY flame retardant low smoke | - | Cu/EPR/CWS/STA/PVC flame retardant low smoke
EPREM АРвБВнг(А)-LS | - | Single core | Multi core | Single core | Multi core
|  | - | NA3GSEBY flame retardant low smoke | - | Al/EPR/CWS/STA/PVC flame retardant low smoke
EPREM РвВ | - | Single core | Multi core | Single core | Multi core
|  | N3GSY | N3GSEY | Cu/EPR/CWS/PVC | Cu/EPR/CWS/PVC
EPREM АРвВ | - | Single core | Multi core | Single core | Multi core
|  | NA3GSY | NA3GSEY | Al/EPR/CWS/PVC | Al/EPR/CWS/PVC
EPREM РвВнг(А) | - | Single core | Multi core | Single core | Multi core
|  | N3GSY flame retardant | N3GSEY flame retardant | Cu/EPR/CWS/PVC flame retardant | Cu/EPR/CWS/PVC flame retardant
EPREM АРвВнг(А) | - | Single core | Multi core | Single core | Multi core
|  | NA3GSY flame retardant | NA3GSEY flame retardant | Al/EPR/CWS/PVC flame retardant | Al/EPR/CWS/PVC flame retardant
EPREM РвП | - | Single core | Multi core | Single core | Multi core
|  | N3GS2Y | N3GSE2Y | Cu/EPR/CWS/PE | Cu/EPR/CWS/PE
EPREM АРвП | - | Single core | Multi core | Single core | Multi core
|  | NA3GS2Y | NA3GSE2Y | Al/EPR/CWS/PE | Al/EPR/CWS/PE
EPREM РвВнг(А)-LS | - | Single core | Multi core | Single core | Multi core
|  | N3GSY flame retardant low smoke | N3GSEY flame retardant low smoke | Cu/EPR/CWS/PVC flame retardant low smoke | Cu/EPR/CWS/PVC flame retardant low smoke
EPREM АРвВнг(А)-LS | - | Single core | Multi core | Single core | Multi core
|  | NA3GSY flame retardant low smoke | NA3GSEY flame retardant low smoke | Al/EPR/CWS/PVC flame retardant low smoke | Al/EPR/CWS/PVC flame retardant low smoke
EPREM РвПнг(А)-HF | - | Single core | Multi core | Single core | Multi core
|  | N3GSH | N3GSEH | Cu/EPR/CWS/LSZH | Cu/EPR/CWS/LSZH
EPREM АРвПнг(А)-HF | - | Single core | Multi core | Single core | Multi core
|  | NA3GSH | NA3GSEH | Al/EPR/CWS/LSZH | Al/EPR/CWS/LSZH
5. С круглой проволочной броней 10, 15, 20 и 35 кВ / Wire-armored, 10, 15, 20 and 35 kV
ПвКаП | PvKaP | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/AWA/PE | Cu/XLPE/CWS/AWA/PE
ПвКсП | PvKsP | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/AWA/PE | Cu/XLPE/CWS/AWA/PE
ПвКП | PvKP | Single core | Multi core | Single core | Multi core
|  | - | N2XSER2Y | - | Cu/XLPE/CWS/SWA/PE
АПвКаП | APvKaP | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/AWA/PE | Al/XLPE/CWS/AWA/PE
АПвКсП | APvKsP | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/AWA/PE | Al/XLPE/CWS/AWA/PE
АПвКП | APvKP | Single core | Multi core | Single core | Multi core
|  | - | NA2XSER2Y | - | Al/XLPE/CWS/SWA/PE
ПвКаПу | PvKaPu | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/AWA/PE | Cu/XLPE/CWS/AWA/PE
ПвКсПу | PvKsPu | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/AWA/PE | Cu/XLPE/CWS/AWA/PE
ПвКПу | PvKPu | Single core | Multi core | Single core | Multi core
|  | - | N2XSER2Y | - | Cu/XLPE/CWS/SWA/PE
АПвКаПу | APvKaPu | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/AWA/PE | Al/XLPE/CWS/AWA/PE
АПвКсПу | APvKsPu | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/AWA/PE | Al/XLPE/CWS/AWA/PE
АПвКПу | APvKPu | Single core | Multi core | Single core | Multi core
|  | - | NA2XSER2Y | - | Al/XLPE/CWS/SWA/PE
ПвКаВ | PvKaV | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/AWA/PVC | Cu/XLPE/CWS/AWA/PVC
ПвКсВ | PvKsV | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/AWA/PVC | Cu/XLPE/CWS/AWA/PVC
ПвКВ | PvKV | Single core | Multi core | Single core | Multi core
|  | - | N2XSERY | - | Cu/XLPE/CWS/SWA/PVC
АПвКаВ | APvKaV | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/AWA/PVC | Al/XLPE/CWS/AWA/PVC
АПвКсВ | APvKsV | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/AWA/PVC | Al/XLPE/CWS/AWA/PVC
АПвКВ | APvKV | Single core | Multi core | Single core | Multi core
|  | - | NA2XSERY | - | Al/XLPE/CWS/SWA/PVC
ПвКаВнг(А) | PvKaVng(A) | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/AWA/PVC flame retardant | Cu/XLPE/CWS/AWA/PVC flame retardant
ПвКсВнг(А) | PvKsVng(A) | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/AWA/PVC flame retardant | Cu/XLPE/CWS/AWA/PVC flame retardant
ПвКВнг(А) | PvKVng(A) | Single core | Multi core | Single core | Multi core
|  | - | N2XSERY flame retardant | - | Cu/XLPE/CWS/SWA/PVC flame retardant
АПвКаВнг(А) | APvKaVng(A) | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/AWA/PVC flame retardant | Al/XLPE/CWS/AWA/PVC flame retardant
АПвКсВнг(А) | APvKsVng(A) | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/AWA/PVC flame retardant | Al/XLPE/CWS/AWA/PVC flame retardant
АПвКВнг(А) | APvKVng(A) | Single core | Multi core | Single core | Multi core
|  | - | NA2XSERY flame retardant | - | Al/XLPE/CWS/SWA/PVC flame retardant
ПвКаВнг(A)-LS | PvKaVng(A)-LS | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/AWA/PVC flame retardant low smoke | Cu/XLPE/CWS/AWA/PVC flame retardant low smoke
ПвКсВнг(A)-LS | PvKsVng(A)-LS | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/AWA/PVC flame retardant low smoke | Cu/XLPE/CWS/AWA/PVC flame retardant low smoke
ПвКВнг(A)-LS | PvKVng(A)-LS | Single core | Multi core | Single core | Multi core
|  | - | N2XSERY flame retardant low smoke | - | Cu/XLPE/CWS/SWA/PVC flame retardant low smoke
АПвКаВнг(A)-LS | APvKaVng(A)-LS | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/AWA/PVC flame retardant low smoke | Al/XLPE/CWS/AWA/PVC flame retardant low smoke
АПвКсВнг(A)-LS | APvKsVng(A)-LS | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/AWA/PVC flame retardant low smoke | Al/XLPE/CWS/AWA/PVC flame retardant low smoke
АПвКВнг(A)-LS | APvKVng(A)-LS | Single core | Multi core | Single core | Multi core
|  | - | NA2XSERY flame retardant low smoke | - | Al/XLPE/CWS/SWA/PVC flame retardant low smoke
ПвКаПнг(А)-HF | PvKaPng(A)-HF | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/AWA/LSZH | Cu/XLPE/CWS/AWA/LSZH
ПвКсПнг(А)-HF | PvKsPng(A)-HF | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/AWA/LSZH | Cu/XLPE/CWS/AWA/LSZH
ПвКПнг(А)-HF | PvKPng(A)-HF | Single core | Multi core | Single core | Multi core
|  | - | N2XSERH | - | Cu/XLPE/CWS/SWA/LSZH
АПвКаПнг(А)-HF | APvKaPng(A)-HF | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/AWA/LSZH | Al/XLPE/CWS/AWA/LSZH
АПвКсПнг(А)-HF | APvKsPng(A)-HF | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/AWA/LSZH | Al/XLPE/CWS/AWA/LSZH
АПвКПнг(А)-HF | APvKPng(A)-HF | Single core | Multi core | Single core | Multi core
|  | - | NA2XSERH | - | Al/XLPE/CWS/SWA/LSZH
ПвКаВ-ХЛ | PvKaV-HL | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/AWA/PVC cold resistance | Cu/XLPE/CWS/AWA/PVC cold resistance
ПвКсВ-ХЛ | PvKsV-HL | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/AWA/PVC cold resistance | Cu/XLPE/CWS/AWA/PVC cold resistance
ПвКВ-ХЛ | PvKV-HL | Single core | Multi core | Single core | Multi core
|  | - | N2XSERYk | - | Cu/XLPE/CWS/SWA/PVC cold resistance
АПвКаВ-ХЛ, | APvKaV-HL | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/AWA/PVC cold resistance | Al/XLPE/CWS/AWA/PVC cold resistance
АПвКсВ-ХЛ | APvKsV-HL | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/AWA/PVC cold resistance | Al/XLPE/CWS/AWA/PVC cold resistance
АПвКВ-ХЛ | APvKV-HL | Single core | Multi core | Single core | Multi core
|  | - | NA2XSERYk | - | Al/XLPE/CWS/SWA/PVC cold resistance
ПвКаВнг(А)-ХЛ | PvKaVng(A)-HL | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/AWA/PVC flame retardant cold resistance | Cu/XLPE/CWS/AWA/PVC flame retardant cold resistance
ПвКсВнг(А)-ХЛ | PvKsVng(A)-HL | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/AWA/PVC flame retardant cold resistance | Cu/XLPE/CWS/AWA/PVC flame retardant cold resistance
ПвКВнг(А)-ХЛ | PvKVng(A)-HL | Single core | Multi core | Single core | Multi core
|  | - | N2XSERYk flame retardant | - | Cu/XLPE/CWS/SWA/PVC flame retardant cold resistance
АПвКаВнг(А)-ХЛ | APvKaVng(A)-HL | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/AWA/PVC flame retardant cold resistance | Al/XLPE/CWS/AWA/PVC flame retardant cold resistance
АПвКсВнг(А)-ХЛ | APvKsVng(A)-HL | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/AWA/PVC flame retardant cold resistance | Al/XLPE/CWS/AWA/PVC flame retardant cold resistance
АПвКВнг(А)-ХЛ | APvKVng(A)-HL | Single core | Multi core | Single core | Multi core
|  | - | NA2XSERY flame retardant cold resistance | - | Al/XLPE/CWS/SWA/PVC flame retardant cold resistance
ПвКаПг | PvKaPg | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/LW/CWS/LW/AWA/PE | Cu/XLPE/LW/CWS/LW/AWA/PE
ПвКсПг | PvKsPg | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/LW/CWS/LW/AWA/PE | Cu/XLPE/LW/CWS/LW/AWA/PE
ПвКПг | PvKPg | Single core | Multi core | Single core | Multi core
|  | - | NA2XSER2Y | Cu/XLPE/LW/CWS/LW/SWA/PE | Cu/XLPE/LW/CWS/LW/SWA/PE
АПвКаПг | APvKaPg | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/LW/CWS/LW/AWA/PE | Al/XLPE/LW/CWS/LW/AWA/PE
АПвКсПг | APvKsPg | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/LW/CWS/LW/AWA/PE | Al/XLPE/LW/CWS/LW/AWA/PE
АПвКПг | APvKPg | Single core | Multi core | Single core | Multi core
|  | - | NA2XSER2Y | Al/XLPE/LW/CWS/LW/SWA/PE | Al/XLPE/LW/CWS/LW/SWA/PE
ПвКаПгж | PvKaPgzh | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/LW/CWS/LW/AWA/PE | Cu/XLPE/LW/CWS/LW/AWA/PE
ПвКсПгж | PvKsPgzh | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/LW/CWS/LW/AWA/PE | Cu/XLPE/LW/CWS/LW/AWA/PE
ПвКПгж | PvKPgzh | Single core | Multi core | Single core | Multi core
|  | - | NA2XSER2Y | Cu/XLPE/LW/CWS/LW/SWA/PE | Cu/XLPE/LW/CWS/LW/SWA/PE
АПвКаПгж | APvKaPgzh | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/LW/CWS/LW/AWA/PE | Al/XLPE/LW/CWS/LW/AWA/PE
АПвКсПгж, | APvKsPgzh | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/LW/CWS/LW/AWA/PE | Al/XLPE/LW/CWS/LW/AWA/PE
АПвКПгж | APvKPgzh | Single core | Multi core | Single core | Multi core
|  | - | NA2XSER2Y | Al/XLPE/LW/CWS/LW/SWA/PE | Al/XLPE/LW/CWS/LW/SWA/PE
ПвКаП2г | PvKaP2g | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/LW/AWA/PE | Cu/XLPE/CWS/LW/AWA/PE
ПвКсП2г | PvKsP2g | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/LW/AWA/PE | Cu/XLPE/CWS/LW/AWA/PE
ПвКП2г | PvKP2g | Single core | Multi core | Single core | Multi core
|  | - | NA2XSER2Y | Cu/XLPE/CWS/LW/SWA/PE | Cu/XLPE/CWS/LW/SWA/PE
АПвКаП2г | APvKaP2g | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/LW/AWA/PE | Al/XLPE/CWS/LW/AWA/PE
АПвКсП2г | APvKsP2g | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/LW/AWA/PE | Al/XLPE/CWS/LW/AWA/PE
АПвКП2г | APvKP2g | Single core | Multi core | Single core | Multi core
|  | - | NA2XSER2Y | Al/XLPE/CWS/LW/SWA/PE | Al/XLPE/CWS/LW/SWA/PE
ПвКаП2гж | PvKaP2gzh | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/LW/AWA/PE | Cu/XLPE/CWS/LW/AWA/PE
ПвКсП2гж | PvKsP2gzh | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/XLPE/CWS/LW/AWA/PE | Cu/XLPE/CWS/LW/AWA/PE
ПвКП2гж | PvKP2gzh | Single core | Multi core | Single core | Multi core
|  | - | NA2XSER2Y | Cu/XLPE/CWS/LW/SWA/PE | Cu/XLPE/CWS/LW/SWA/PE
АПвКаП2гж | APvKaP2gzh | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/LW/AWA/PE | Al/XLPE/CWS/LW/AWA/PE
АПвКсП2гж | APvKsP2gzh | Single core | Multi core | Single core | Multi core
|  | - | - | Al/XLPE/CWS/LW/AWA/PE | Al/XLPE/CWS/LW/AWA/PE
АПвКП2гж | APvKP2gzh | Single core | Multi core | Single core | Multi core
|  | - | NA2XSER2Y | Al/XLPE/CWS/LW/SWA/PE | Al/XLPE/CWS/LW/SWA/PE
EPREM РвКВ | - | Single core | Multi core | Single core | Multi core
|  | - | N3GSERY | - | Cu/EPR/CWS/SWA/PVC
EPREM АРвКВ | - | Single core | Multi core | Single core | Multi core
|  | - | NA3GSERY | - | Al/EPR/CWS/SWA/PVC
EPREM РвКаВ | - | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/EPR/CWS/AWA/PVC | Cu/EPR/CWS/AWA/PVC
EPREM АРвКаВ | - | Single core | Multi core | Single core | Multi core
|  | - | - | Al/EPR/CWS/AWA/PVC | Al/EPR/CWS/AWA/PVC
EPREM РвКВнг(А) | - | Single core | Multi core | Single core | Multi core
|  | - | N3GSERY flame retardant | - | Cu/EPR/CWS/SWA/PVC flame retardant
EPREM АРвКВнг(А) | - | Single core | Multi core | Single core | Multi core
|  | - | NA3GSERY flame retardant | - | Al/EPR/CWS/SWA/PVC flame retardant
EPREM РвКаВнг(А) | - | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/EPR/CWS/AWA/PVC flame retardant | Cu/EPR/CWS/AWA/PVC flame retardant
EPREM АРвКаВнг(А) | - | Single core | Multi core | Single core | Multi core
|  | - | - | Al/EPR/CWS/AWA/PVC flame retardant | Al/EPR/CWS/AWA/PVC flame retardant
EPREM РвКcВнг(А) | - | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/EPR/CWS/AWA/PVC flame retardant | Cu/EPR/CWS/AWA/PVC flame retardant
EPREM АРвКcВнг(А) | - | Single core | Multi core | Single core | Multi core
|  | - | - | Al/EPR/CWS/AWA/PVC flame retardant | Al/EPR/CWS/AWA/PVC flame retardant
EPREM РвКВнг(А)-LS | - | Single core | Multi core | Single core | Multi core
|  | - | N3GSERY flame retardant low smoke | - | Cu/EPR/CWS/SWA/PVC flame retardant low smoke
EPREM АРвКВнг(А)-LS | - | Single core | Multi core | Single core | Multi core
|  | - | NA3GSERY flame retardant low smoke | - | Al/EPR/CWS/SWA/PVC flame retardant low smoke
EPREM РвКaВнг(А)-LS | - | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/EPR/CWS/AWA/PVC flame retardant low smoke | Cu/EPR/CWS/AWA/PVC flame retardant low smoke
EPREM АРвКaВнг(А)-LS | - | Single core | Multi core | Single core | Multi core
|  | - | - | Al/EPR/CWS/AWA/PVC flame retardant low smoke | Al/EPR/CWS/AWA/PVC flame retardant low smoke
EPREM РвКсВнг(А)-LS | - | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/EPR/CWS/AWA/PVC flame retardant low smoke | Cu/EPR/CWS/AWA/PVC flame retardant low smoke
EPREM АРвКсВнг(А)-LS | - | Single core | Multi core | Single core | Multi core
|  | - | - | Al/EPR/CWS/AWA/PVC flame retardant low smoke | Al/EPR/CWS/AWA/PVC flame retardant low smoke
EPREM РвКПнг(А)-HF | - | Single core | Multi core | Single core | Multi core
|  | - | N3GSERH | - | Cu/EPR/CWS/SWA/LSZH
EPREM РвКПнг(А)-HF | - | Single core | Multi core | Single core | Multi core
|  | - | NA3GSEH | - | Al/EPR/CWS/SWA/LSZH
EPREM РвКаПнг(А)-HF | - | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/EPR/CWS/AWA/PVC flame retardant low smoke | Cu/EPR/CWS/AWA/PVC flame retardant low smoke
EPREM АРвКаПнг(А)-HF | - | Single core | Multi core | Single core | Multi core
|  | - | - | Al/EPR/CWS/AWA/PVC flame retardant low smoke | Al/EPR/CWS/AWA/PVC flame retardant low smoke
EPREM РвКсПнг(А)-HF | - | Single core | Multi core | Single core | Multi core
|  | - | - | Cu/EPR/CWS/AWA/PVC flame retardant low smoke | Cu/EPR/CWS/AWA/PVC flame retardant low smoke
EPREM АРвКсПнг(А)-HF | - | Single core | Multi core | Single core | Multi core
|  | - | - | Al/EPR/CWS/AWA/PVC flame retardant low smoke | Al/EPR/CWS/AWA/PVC flame retardant low smoke

## 64-110 kV Power cables
Марка кабеля по ТУ 16-705-495-2006 Type of cable as per TU 16-705-495-2006 | Марка кабеля в каталоге Type of cable as in the catalogue | Зарубежный аналог по VDE Foreign analogue according to VDE | Зарубежный аналог Foreign analogue
ПвП2г | PvP2g | N2XS(FL)2Y | Cu/XLPE/CWS/LW/PE
АПвП2г | APvP2g | NA2XS(FL)2Y | Al/XLPE/CWS/LW/PE
ПвВ | PvV | N2XSY | Cu/XLPE/CWS/PVC
АПвВ | APvV | NA2XSY | Al/XLPE/CWS/PVC
ПвВнг(А) | PvVng(A) | N2XSY flame retardant | Cu/XLPE/CWS/PVC flame retardant
АПвВнг(А) | APvVng(A) | NA2XSY flame retardant low smoke | Al/XLPE/CWS/PVC flame retardant low smoke
ПвПнг(А)-HF | PvPng(A)-HF | N2XSH | Cu/XLPE/CWS/LSZH
АПвПнг(А)-HF | APvPng(A)-HF | NA2XSH | Al/XLPE/CWS/LSZH
ПвПг | PvPg | N2XS(F)2Y | Cu/XLPE/LW/CWS/LW/PE
АПвПг | APvPg | NA2XS(F)2Y | Al/XLPE/LW/CWS/LW/PE

## Flexible cables and wires
Марка кабеля, провода по ГОСТ, ТУ Type of cable as per GOST, TU | Марка кабеля в каталоге Type of cable as in the catalogue | Зарубежный аналог Foreign analogue
Провода для электрических установок / Wires for electric installations
ПуВ, ПуВнг(А)-LS | - | H07V-U, H07V-R
ПуВВ, ПуВВнг(А)-LS | - | H07VVH2-U, H07VVH2-R
ПуГВ, ПуГВнг(А)-LS | - | H07V-K, H07V3-K
ПуГВВ, ПуГВВнг(А)-LS | - | H07VVH2-K
ПуПнг(А)-HF | - | H07Z-U, H07Z-R
ПуГПнг(А)-HF | - | H07Z-K
Провода с медной жилой высокой гибкости с изоляцией из прозрачного ПВХ пластиката Highly-flexible copper wires insulated with transparent PVC compound
ПВ6-З | - | ESUY

## Self-supporting wires
Марка кабеля, провода по ГОСТ31946-2012 Type of cable as per GOST 31946-2012 | Марка кабеля в каталоге Type of cable as in the catalogue | Зарубежный аналог Foreign analogue
СИП-2 | SIP-2 | AXKA, NFA2X
СИП-3 | SIP-3 | SAX
СИП-4 | SIP-4 | ABC
Пожаробезопасный СИПн-2 | SIPn-2 | AXKA, NFA2X flame retardant
Пожаробезопасный СИПн-3 | SIPn-3 | SAX flame retardant
Пожаробезопасный СИПн-4 | SIPn-4 | ABC flame retardant

## Uninsulated wires
Марка провода Type of wire | Марка в каталоге Type as in the catalogue | Зарубежный аналог Foreign analogue
АСП | ACSR/AS | ACSR/ACS, ACSR/AW
АСПк | ACSR/TW | ACSR/TW/ACS, ACSR/ACS Z, ACSR/TW/AW, ACSR/AW Z
АСПТ | TACSR/AS | TACSR/ACS, TACSR/AW
АСПТк | TACSR/TW AS | TACSR/TW/ACS, TACSR/ACS Z, TACSR/TW/AW, TACSR/AW Z